## LS-2_100101-Pres
Facilities Charge Per Lamp Per Month
CLASS |  | A |  |  | C**
PG&E supplies the energy and
|  | PG&E supplies energy |  |  | maintenance service as
|  | and service only. |  |  | described in Special Condition 8
|  | 0.187 |  |  | 2.688
Energy Charge Per Lamp Per Month
All Night Rates
Nominal Lamp Rating: |  |  |  | Per Lamp Per Month
Average Initial Lumens
Lamp | kWh per | Initial |  | All |  |  | Half-Hour
Watts | Month | Lumens* |  | Classes |  |  | Adjustment
Incandescent Lamps:
58 | 20 | 600 |  | 2.494 |  |  | 0.113
92 | 31 | 1000 |  | 3.866 |  |  | 0.176
189 | 65 | 2500 |  | 8.106 |  |  | 0.368
295 | 101 | 4000 | ** | 12.596 |  |  | 0.573
405 | 139 | 6000 | ** | 17.335 |  |  | 0.788
620 | 212 | 10000 | ** | 26.439 |  |  | 1.202
860 | 294 | 15000 | ** | 36.665 |  |  | 1.667
Mercury Vapor Lamps:
40 | 18 | 1300 |  | 2.245 |  |  | 0.102
50 | 22 | 1650 |  | 2.744 |  |  | 0.125
100 | 40 | 3500 |  | 4.988 |  |  | 0.227
175 | 68 | 7500 |  | 8.48 |  |  | 0.385
250 | 97 | 11000 |  | 12.097 |  |  | 0.55
400 | 152 | 21000 |  | 18.956 |  |  | 0.862
700 | 266 | 37000 |  | 33.173 |  |  | 1.508
1000 | 377 | 57000 |  | 47.016 |  |  | 2.137
High Pressure Sodium Vapor Lamps:
120 Volts
35 | 15 | 2150 |  | 1.871 |  |  | 0.085
50 | 21 | 3800 |  | 2.619 |  |  | 0.119
70 | 29 | 5800 |  | 3.617 |  |  | 0.164
100 | 41 | 9500 |  | 5.113 |  |  | 0.232
150 | 60 | 16000 |  | 7.483 |  |  | 0.34
200 | 80 | 22000 |  | 9.977 |  |  | 0.454
250 | 100 | 26000 |  | 12.471 |  |  | 0.567
400 | 154 | 46000 |  | 19.205 |  |  | 0.873
Energy Charge Per Lamp Per Month
All Night Rates
Nominal Lamp Rating: |  |  |  | Per Lamp Per Month
Average
Lamp | kWh per | Initial |  | All |  |  | Half-Hour
Watts | Month | Lumens* |  | Classes |  |  | Adjustment
High Pressure Sodium Vapor Lamps:
240 Volts
50 | 24 | 3800 |  | 2.993 |  |  | 0.136
70 | 34 | 5800 |  | 4.24 |  |  | 0.193
100 | 47 | 9500 |  | 5.861 |  |  | 0.266
150 | 69 | 16000 |  | 8.605 |  |  | 0.391
200 | 81 | 22000 |  | 10.102 |  |  | 0.459
250 | 100 | 25500 |  | 12.471 |  |  | 0.567
310 | 119 | 37000 |  | 14.84 |  |  | 0.675
360 | 144 | 45000 |  | 17.958 |  |  | 0.816
400 | 154 | 46000 |  | 19.205 |  |  | 0.873
Low Pressure Sodium Vapor Lamps:
35 | 21 | 4800 |  | 2.619 |  |  | 0.119
55 | 29 | 8000 |  | 3.617 |  |  | 0.164
90 | 45 | 13500 |  | 5.612 |  |  | 0.255
135 | 62 | 21500 |  | 7.732 |  |  | 0.351
180 | 78 | 33000 |  | 9.727 |  |  | 0.442
Metal Halide Lamps:
70 | 30 | 5500 |  | 3.741 |  |  | 0.17
100 | 41 | 8500 |  | 5.113 |  |  | 0.232
150 | 63 | 13500 |  | 7.857 |  |  | 0.357
175 | 72 | 14000 |  | 8.979 |  |  | 0.408
250 | 105 | 20500 |  | 13.095 |  |  | 0.595
400 | 162 | 30000 |  | 20.203 |  |  | 0.918
1000 | 387 | 90000 |  | 48.263 |  |  | 2.194
Induction Lamps:
40 | 14 | 2200 |  | 1.746 |  |  | 0.079
55 | 19 | 3000 |  | 2.369 |  |  | 0.108
80 | 27 | 4500 |  | 3.367 |  |  | 0.153
85 | 30 | 4800 |  | 3.741 |  |  | 0.17
120 | 42 | 8500 |  | 5.177 |  |  | 0.235
150 | 51 | 10900 |  | 6.36 |  |  | 0.289
165 | 58 | 12000 |  | 7.233 |  |  | 0.329
Light Emitting Diode (LED) Lamps: 120-240 Volts
Lamp | kWh per | [5 empty] | Half-Hour
Watts**** | Month***** | A Only |  |  |  |  | Adjustment
0.00-5.00 | 0.9 | 0.112 |  |  |  |  | 0.005
5.01-10.00 | 2.6 | 0.324 |  |  |  |  | 0.015
10.01-15.00 | 4.3 | 0.536 |  |  |  |  | 0.024
15.01-20.00 | 6 | 0.748 |  |  |  |  | 0.034
20.01-25.00 | 7.7 | 0.96 |  |  |  |  | 0.044
25.01-30.00 | 9.4 | 1.172 |  |  |  |  | 0.053
30.01-35.00 | 11.1 | 1.384 |  |  |  |  | 0.063
35.01-40.00 | 12.8 | 1.596 |  |  |  |  | 0.073
40.01-45.00 | 14.5 | 1.808 |  |  |  |  | 0.082
45.01-50.00 | 16.2 | 2.02 |  |  |  |  | 0.092
50.01-55.00 | 17.9 | 2.232 |  |  |  |  | 0.101
55.01-60.00 | 19.6 | 2.444 |  |  |  |  | 0.111
60.01-65.00 | 21.4 | 2.669 |  |  |  |  | 0.121
65.01-70.00 | 23.1 | 2.881 |  |  |  |  | 0.131
70.01-75.00 | 24.8 | 3.093 |  |  |  |  | 0.141
75.01-80.00 | 26.5 | 3.305 |  |  |  |  | 0.15
80.01-85.00 | 28.2 | 3.517 |  |  |  |  | 0.16
85.00-90.00 | 29.9 | 3.729 |  |  |  |  | 0.17
90.01-95.00 | 31.6 | 3.941 |  |  |  |  | 0.179
95.01-100.00 | 33.3 | 4.153 |  |  |  |  | 0.189
100.01-105.00 | 35 | 4.365 |  |  |  |  | 0.198
105.01-110.00 | 36.7 | 4.577 |  |  |  |  | 0.208
110.01-115.00 | 38.4 | 4.789 |  |  |  |  | 0.218
115.01-120.00 | 40.1 | 5.001 |  |  |  |  | 0.227
120.01-125.00 | 41.9 | 5.225 |  |  |  |  | 0.238
125.01-130.00 | 43.6 | 5.437 |  |  |  |  | 0.247
130.01-135.00 | 45.3 | 5.649 |  |  |  |  | 0.257
135.01-140.00 | 47 | 5.861 |  |  |  |  | 0.266
140.01-145.00 | 48.7 | 6.073 |  |  |  |  | 0.276
145.01-150.00 | 50.4 | 6.285 |  |  |  |  | 0.286
150.01-155.00 | 52.1 | 6.497 |  |  |  |  | 0.295
155.01-160.00 | 53.8 | 6.709 |  |  |  |  | 0.305
160.01-165.00 | 55.5 | 6.921 |  |  |  |  | 0.315
165.01-170.00 | 57.2 | 7.133 |  |  |  |  | 0.324
170.01-175.00 | 58.9 | 7.345 |  |  |  |  | 0.334
175.01-180.00 | 60.6 | 7.557 |  |  |  |  | 0.344
180.01-185.00 | 62.4 | 7.782 |  |  |  |  | 0.354
185.01-190.00 | 64.1 | 7.994 |  |  |  |  | 0.363
190.01-195.00 | 65.8 | 8.206 |  |  |  |  | 0.373
195.01-200.00 | 67.5 | 8.418 |  |  |  |  | 0.383
Light Emitting Diode (LED) Lamps: 120-240 Volts
Lamp | kWh per | [5 empty] | Half-Hour
Watts**** | Month***** | A Only |  |  |  |  | Adjustment
200.01-205.00 | 69.2 | 8.63 |  |  |  |  | 0.392
205.01-210.00 | 70.9 | 8.842 |  |  |  |  | 0.402
210.01-215.00 | 72.6 | 9.054 |  |  |  |  | 0.412
215.01-220.00 | 74.3 | 9.266 |  |  |  |  | 0.421
220.01-225.00 | 76 | 9.478 |  |  |  |  | 0.431
225.01-230.00 | 77.7 | 9.69 |  |  |  |  | 0.44
230.01-235.00 | 79.4 | 9.902 |  |  |  |  | 0.45
235.01-240.00 | 81.1 | 10.114 |  |  |  |  | 0.46
240.01-245.00 | 82.9 | 10.338 |  |  |  |  | 0.47
245.01-250.00 | 84.6 | 10.55 |  |  |  |  | 0.48
250.01-255.00 | 86.3 | 10.762 |  |  |  |  | 0.489
255.01-260.00 | 88 | 10.974 |  |  |  |  | 0.499
260.01-265.00 | 89.7 | 11.186 |  |  |  |  | 0.508
265.01-270.00 | 91.4 | 11.398 |  |  |  |  | 0.517
270.01-275.00 | 93.1 | 11.611 |  |  |  |  | 0.527
275.01-280.00 | 94.8 | 11.823 |  |  |  |  | 0.537
280.01-285.00 | 96.5 | 12.035 |  |  |  |  | 0.547
285.01-290.00 | 98.2 | 12.247 |  |  |  |  | 0.557
290.01-295.00 | 99.9 | 12.459 |  |  |  |  | 0.566
295.01-300.00 | 101.6 | 12.671 |  |  |  |  | 0.576
300.01-305.00 | 103.4 | 12.895 |  |  |  |  | 0.586
305.01-310.00 | 105.1 | 13.107 |  |  |  |  | 0.596
310.01-315.00 | 106.8 | 13.319 |  |  |  |  | 0.605
315.01-320.00 | 108.5 | 13.531 |  |  |  |  | 0.615
320.01-325.00 | 110.2 | 13.743 |  |  |  |  | 0.625
325.01-330.00 | 111.9 | 13.955 |  |  |  |  | 0.634
330.01-335.00 | 113.6 | 14.167 |  |  |  |  | 0.644
335.01-340.00 | 115.3 | 14.379 |  |  |  |  | 0.654
340.01-345.00 | 117 | 14.591 |  |  |  |  | 0.663
345.01-350.00 | 118.7 | 14.803 |  |  |  |  | 0.673
350.01-355.00 | 120.4 | 15.015 |  |  |  |  | 0.683
355.01-360.00 | 122.1 | 15.227 |  |  |  |  | 0.692
360.01-365.00 | 123.9 | 15.452 |  |  |  |  | 0.702
365.01-370.00 | 125.6 | 15.664 |  |  |  |  | 0.712
370.01-375.00 | 127.3 | 15.876 |  |  |  |  | 0.722
375.01-380.00 | 129 | 16.088 |  |  |  |  | 0.731
380.01-385.00 | 130.7 | 16.3 |  |  |  |  | 0.741
385.01-390.00 | 132.4 | 16.512 |  |  |  |  | 0.751
390.01-395.00 | 134.1 | 16.724 |  |  |  |  | 0.76
395.01-400.00 | 135.8 | 16.936 |  |  |  |  | 0.77
Ballast Factors by Lamp Type and Wattage Range
|  |  |  | Ballast |  |  |  | Ballast
Watt Range |  |  |  | Factor | Watt Range |  |  | Factor
Mercury Vapor Lamps*: |  |  |  |  | High Pressure Sodium Vapor
120 Volts
1 | to | 75 |  | 31.00% | 1 | to | 40 | 25.44%
76 | to | 125 |  | 17.07% | 41 | to | 60 | 22.93%
126 | to | 325 |  | 13.69% | 61 | to | 85 | 21.25%
326 | to | 800 |  | 11.22% | 86 | to | 125 | 20.00%
801 | + |  |  | 10.34% | 126 | + |  | 17.07%
Low Pressure Sodium Vapor
240 Volts
1 | to | 40 |  | 75.61% | 1 | to | 60 | 40.49%
41 | to | 75 |  | 54.32% | 61 | to | 85 | 42.16%
76 | to | 110 |  | 46.34% | 86 | to | 125 | 37.56%
111 | to | 160 |  | 34.42% | 126 | to | 175 | 34.63%
161 | + |  |  | 26.83% | 176 | to | 225 | 18.54%
[5 empty] | 226 | to | 280 | 17.07%
Metal Halide |  |  |  |  | 281 | to | 380 | 12.35%
1 | to | 85 |  | 25.44% | 381 | + |  | 12.68%
86 | to | 200 |  | 20.39%
201 | to | 375 |  | 22.93%
376 | to | 700 |  | 18.54%
701 | + |  |  | 13.27%
Total Energy Charge Rate ($/kWh) |  |  |  | 0.12471
*Latest published information should be consulted on best available lumens.
**Service for incandescent lamps over 2,500 lumens will be closed to new installations after Sept. 11, 1978.
***Closed to new installations and new lamps on existing circuits.
****Wattage based on total consumption of lamp and driver. Customer may be required to provide verification of total energy
consumption of lamp and driver upon request by PG&E.
*****Assumptions consistent with tariff, based on 4,100 hours of operation for a full-year; mid-point in range established by
deducting 2.5 watts from highest wattage in range. The energy use calculation is:
(high wattage in range-2.5 watts) x (4,100 hours/12 months/1000)